## Slide 1
ADC, Coil temperature
Sense resistor’s
Temperature dependence
ADC
Cal V Measured V Velocity
Cap probe, clock
OR

## Slide 2
If we follow the experimental method described in Aliter, the uncertainty in unknown mass measurement is only a function of mref, Vref, Vm . Assuming the resistance, R of the sense resistor is the “same” in between the two experiments involving reference mass and unknown mass, and are performed in quick intervals, say within a minute. However, data of resistance variation with respect to temperature could be useful to assess the influence. This data is not available currently. Obtaining the data is a future work.

## Slide 4
Resolution of ADC
Resolution of ADC measuring
capacitance probe,
Humidity settles water vapor on
capacitance probe’s electrode
Resolution of MyRIO’s clock
Temperature
Geographical location
Temperature affects
length of coil,
and remanence
Measurand,